## Slide 1
Overview of the JWST-NIRSpec
GTO programme
Kavli Institute for Cosmology
Cavendish Laboratory
University of Cambridge
Roberto Maiolino

## Slide 2
NIRSpec: the first multi-object spectrograph in space
(the largest and most complex instrument of JWST)

## Slide 3
NIRSpec spectral resolution and wavelength coverage:
3 high resolution gratings (R~2700)
3 medium resolution gratings (R~1000)
1 low resolution prism (R~100)

## Slide 4
Huge leap in sensitivity
...has happened very rarely in history of science
2,000 x more sensitive
than current telescopes
Equivalent to suddenly passing
from Galileo’s telescope to
modern large telescopes

## Slide 5
Micro Shutter Array
4 quadrants, each with 171 rows of 365 shutters, totaling ~250,000 shutters
Each shutter is 0.46” x 0.2”
0.2”
RIGID ARRAY
implications
for observing plan

## Slide 6
Micro Shutter Array
4 quadrants, each with 171 rows of 365 shutters, totaling ~250,000 shutters
Each shutter is 0.46” x 0.2”
0.2”
RIGID ARRAY
implications
for observing plan

## Slide 7
Micro Shutter Array
4 quadrants, each with 171 rows of 365 shutters, totaling ~250,000 shutters
Each shutter is 0.46” x 0.2”
0.2”
RIGID ARRAY
implications
for observing plan

## Slide 8
Detectors Gap (~20”)
Failed Closed Shutters
Quad 4
Quad 2
Quad 3
Quad 1
Detector NRS1
Detector NRS1
Spectral direction
MSA images of uniform illumination with “all” shutters open

## Slide 9
R=100
R=1000
Rigid MSA structure => cannot freely select any target
Allocation becomes more efficient if the input catalog is vastly oversized

## Slide 10
NIRSpec simulation in HUDF in 45min (~10% of total of a deep pointing)
R=100
214 galaxies allocated (with non-overlapping spectra)
0.6mm
5.2mm

## Slide 11
NIRSpec simulation in HDF in 45min (~10% of total of a deep pointing)
R=1000 (one out of three grating)
same 214 galaxies selected at R=100 -> at R=100 overlapping spectra
but ok because interested in nebular lines (most continua too low S/N)
At R=2700 spectra are ~2.7 times longer most of them are truncated
(on the blue side)

## Slide 12
JWST focal plane
In Cycle 1 NIRSpec’s only allowed coordinated parallel:
NIRSpec MSA mode with NIRCam
(“pure” parallels many more combinations)

## Slide 13
NIRSpec MOS programme
in parallel with NIRCam:
combining GTOs in
the GOODS fields
GOODS-N

## Slide 14
NIRSpec MOS programme
in parallel with NIRCam:
combining GTOs in
the GOODS fields
GOODS-S

## Slide 15
Summary of pointings and times allocations
HST: spectra on HST-selected targets
JWST: spectra of NIRCam-selected targets
Wide/HST
CANDLES
32
71
106
_
Total: 586 hr
Deep/HST + first Wide pointing: immediately public
(+ a few IFU spectra immediately public)

## Slide 16
Wide/HST
6400
0.8
1.3
+ G235H
Statistics and observing modes
R=100
stellar continuum
& redshift
R=1000
nebular lines
full band
R=2700
kinematics
Total ~ 14,000

## Slide 17
Lya
[OII]
Hg
Hb
[OIII]
lines from
overlapping
spectra
line from
overlapping
spectra
simulated spectrum
at z=9.5, mAB=27.6
only 0.7hr/grating
(10% of total
deep exposure)
[OII]
[OIII]
[OIII]
Hb
Hg
Hd
[NeIII]

## Slide 18
Wide range of science cases...

## Slide 19
Identification of:
PopIII galaxies
Primeval Direct Collapse
Black Hole seeds
Pawlik+11
Pacucci+17

## Slide 20
The Lyman continuum escape fraction
Lyc
Ha
Hb
HII
HII
this translates
into this
modulo the
escape fraction
Lyman
continuum
nebular lines
&
nebular cont.
Escape fraction
from Balmer lines + Balmer break with UV continuum
Hb
Hg
Balmer
Cont.
R=100
R=1000
& R = 100
Crucial quantity to understand the capability
of galaxies to reionize the Universe
Zackrisson+13

## Slide 21
Excitation diagnostics
Classical optical BPT
(currently only
out to z~2.5)
-> usable out to z~7
UV-diagnostics out to z>7
(Feltre +15)
NIRSpec -> AGN identification
NIRCam -> AGN host galaxies
(Volonteri+17)
Storm+16

## Slide 22
it will be possible to unambiguously determine the role of AGN vs SF
in the reionization process
Giallongo+15
Madau+Haardt’15
Kulkarni+18
Parsa+17
Weigel+15

## Slide 23
Galactic chemical evolution out to reionization epoch
z~3.3
z~0
Reshift
Number of galaxies
total
DZ < 0.15 dex
Number of galaxies only in
Deep-HST for which the metallicity
can be determined to better than
DZ < 0.15 dex
mass-metallicity relation
currently out to z~3.3

## Slide 24
Other programs using NIRSpec in Cycle 1 GTO or ERS
GTO
CANUCS (NIRISS GTO): 5 lensing clusters, 2 NIRSpec configurations
each (17 hours in total)
MIRI GTO (US) team a few NIRSpec additional pointings in GOODS-S
Early Release Science (all public immediately)
- CEERS: 6 NIRSpec pointings in Candles fields, R=100 & R=1000
(20 hours total)
- GLASS: one lensing cluster, 3 NIRSpec R=2700 config. (14 hours tot)

## Slide 25
Thank you!

## Slide 26
Simulation of exposure in the
Hubble Deep Field
20 min
0.6mm
5mm
AB=26 (very easy!)
R=100

## Slide 27
All dispersers can be used
Example with R=100
Short spectra => typically 4 spectra can be accommodated
in one row without overlaps
Courtesy:
P. Jakobsen

## Slide 28
Note that most spectra have a gap
-> need an offset by ~20” to recover this gap
At R=2700 spectra are ~2.7 times longer
most of them are truncated (on the blue side)
The extent of truncation depends on the
target location on MSA
Example with R=1000
Typically one spectrum can be accommodated in one
row without overlaps (or less, given that spectra are curved)

## Slide 29
Planning challenge:
Rigid MSA structure
=> cannot center simultaneously all targets:
have to find a compromise
-> “acceptance zone” within shutter footprint
Avoid failed closed shutters
Avoid spectra overlap
Avoid overlap with failed open shutters

## Slide 30
Planning challenge
-> MPT:
1) given a roll angle and set of “primary” targets optimizes
the pointing and MSA configuration to maximize the number
of targets observed
-> typically ~ 30% of the primary target can be accommodated
2) opens the other shutters on as many “filler targets” as possible
-> final efficiency (number of spectra obtained per pointing)
depends on density of targets
(at least ~200 arcmin-2 to decently exploit the MSA)

## Slide 31: Key Planning Parameters in MPT: Slitlet Shape & Shutter Margin (aka “Acceptance Zone”)
Slitlet shape (can be 1, 2, 3, or 5 shutters)
Unconstrained
Open Shutter Area
Midpoint
Constrained
Tightly Constrained
Shutter Planning Constraints
NIRSpec MSA Slit Throughput vs. Wavelength
*
Perfectly centered
Shutter margin to limit slit losses (5 choices):
courtesy: D. Karakla

## Slide 32: Key Planning Parameters in MPT: Dithers
MSA
Config 1
Config 3
Config 2
(0,0)
(0,-4)
dispersion
spatial
(6,-4)
Fixed dithers: Translate MSA config pattern to new dither point.
Flexible Dithers: Large dithers
e.g. to cover the detectors gap
SMALL dithers only! <~ 10 arcsec
Because of distortions requires MSA
reconfiguration
Typically only 30-50% of the targets
can be retrieved in the new
MSA configuration
*
*
*
adapted from D. Karakla

## Slide 33: Output and Plan Assessment Tools
There are some nice built-in tools to help assess plans:
Different Exposure views
Green=Primaries
Blue=Fillers
Black=contaminants
0.”46
0.”2
0.”06
Left: Collapsed shutter view showing target centering results
Right: MSA shutter view. Targets are shown on a sketch of the MSA for one exposure.
MSA Shutter View
Collapsed Shutter View
courtesy: D. Karakla

## Slide 34
NIRCam-prime
7 pointings
6 in have NIRSpec
in parallel
(HST preimaging)
of which 6 overlap
with the same
NIRCam pointings

## Slide 35
Coordinated exposures per pointing:
NIRCam:
SW: F090W - F115W - F150W - F200W
LW: F227W - F356W - F410M - F444W
NIRSpec:
PRISM - PRISM - G235M - G395M
NIRCam prime
7 pointings
6 in have NIRSpec
in parallel
(HST preimaging)
of which 6 overlap
with the same
NIRCam pointings
2.3hr
2.3hr
2.3hr
2.3hr

## Slide 36
NIRSpec-prime
4 pointings
(on previous NIRCam pre-imaging)
NIRCam in parallel

## Slide 37
Coordinated exposures per pointing:
NIRCam:
SW: F070W - F090W - F115W - F150W - F200W
LW: F227W - F335W - F356W - F410M - F444W
NIRSpec:
PRISM - G140M - G235M - G395M - G395H
2.3hr
2.3hr
2.3hr
2.3hr
2.3hr

## Slide 38
Rationale:
NIRSpec:
PRISM - G140M - G235M - G395M - G395H
stellar
continuum
& redshift
nebular lines
full band
kinematics

## Slide 40
AB=27
AB=28
AB=29
NIRSpec R=100, z=8, 105 sec
continuum easily detected
Retrival of stellar age, SFR, Mstar, SFH
extinction, metallicity, ....
+ extreme redshift machine
NIRSpec, R=1000, 2.5x104 sec
AB=28
z=8 Z = 1/10 Z
Expected quality of spectra in “deep” GOODS

## Slide 41
In case you’re interested:
summary of NIRCam exposures, areas, exptected sensitivities

## Slide 42
Proposed scheduling for GOODS-S given by constraints on roll angle and
also background (note, for spectroscopy the latter relevant only at R=100)

## Slide 43
Overview of the NIRISS slitless mode
observing strategies, issues and tips
Slides: courtesy of Chris Willott

## Slide 52
For more information please visit:
NIRSpec MSA mode
https://jwst-docs.stsci.edu/display/JTI/NIRSpec+Multi+Object+Spectroscopy
MPT-APT Tutorial (D. Karakla)
https://jwst.stsci.edu/news-events/events/events-area/stsci-events-listing-container/
NIRISS Wide Field Slitless Spectroscopy
https://jwst-docs.stsci.edu/display/JTI/NIRISS+Wide+Field+Slitless+Spectroscopy

## Slide 53
Spare slides

## Slide 54: Review Plan Results
Ability to
select one or more exposures and
filter plan results to list primaries (or fillers or contaminants), or all observed sources.
View successful targets in all selected exposures
Histogram of targets from the selected and filtered results.
1
2
courtesy: D. Karakla

## Slide 58
In general each target (especially for faint ones) will
have associated a set of 3 shutters forming a slitlet
and the telescope will nod targets on the three shutters
for background subtraction
(more/less shutters per slitlet can be selected depending
on target size and brightness)
Courtesy:
P. Jakobsen

## Slide 59
zoom in