## Slide 1: ﻿-- ELFORMS -- ???
M.Civitani ( INAF-Brera)

## Slide 2: ﻿-- ELFORMS -- Extremely Large Free form Optics Metrology with Raster Scan profilometer
M.Civitani, M.Riva, M.Ghigo, G.Vecchi, V. Cotroneo, S.Basso, G. Sironi, D. Spiga, B. Salmaso, G.Pareschi ( INAF-Brera)

## Slide 3: Optical manufactuing lab @Merate
DMG Ultrasonic-65 STILES (ATT5602)
Manufacturing < -- > metrology
Large Ion Beam Facility
(1200mm)
Zeeko IRP1200

## Slide 4: Typical manufacturing cycle
(Credits E-ELT costruction proposal)

## Slide 5: Current equipments
Example: MUSE Primary mirror under measurement
with Zygo set-up and Characterization Universal profilometer @Merate
CUP (Bando Innovazione 2019)

## Slide 6: Hystorical background…. 2015!!
Strongly encouraged by O.Citterio

## Slide 7: 9 years ago = …

## Slide 8: What is a profilometer?
Metrological equipment:
Great flexibility
Can measure concave/flat/ convex without specific optical components
Easy measurement set up
Nowadays with competitive accuracy with respect to interferometry measurerements
Very old version !!!

## Slide 9: Now available also in modern version…
Well, we all know that Mauro is modern inside 
Largest in Italy @Officina Stellare (VI)
Max diam. 1m

## Slide 10: Example of output
Form error repeatability:
< 1 nm rms
Power repeatability:
< 5 nm rms
Point-by-point repeatability from average:
< 3 nm rms
Example 600 mm diam,
Concave R = -1.4 m
Credits: DUI

## Slide 11: Examples of largest commercial products
NMF1000
@Officina Stellare
LUPHOScan 850 HD
Luphos scan 350
@Pecchioli +Research (FI)

## Slide 12: Proposed in STILES  Bando Spazio
Act. 6703 OptomechTesting Profilometer
Aim of the facility: Expanding our capabilities in the field of metrology for optics manufacturing
Requested extra budget to get:
- Larger measurement area
- Custom design (Grazing incidence optics)
750kEuro …
Beatrix parabolic mirror on Zeeko @Merate
Morpheo Mirrors

## Slide 13: Custom design: raster scan
Beatrix on MPR @MLT
Vert-X parabolic mirror in IBF @Merate
Vert-X parabolic mirror measure from MPR @MLT

## Slide 14: Req. & conceptual design
Zerodur
Reference bar
Laser
Optical probe
Geometry of the workpiece:
1,4 m x 1,4m
Maximum weight:
400 kg
Measurement area:
1,2 m x 1,2 m
Vertical movement range:
5 cm
Workpiece radius of curvature:
3 m
Accuracy:
< 10 nm RMS (goal 5 nm RMS)
Scanning
directions

## Slide 15: Looking up and far away
New metrological lab