## Slide 1: Towards high-performance mm-VLBI science operations with multi-band receivers Tri-band receivers for INAF radio telescopes: first light
Pietro Bolli, INAF – Arcetri Astrophysical Observatory
Bologna, 28-31 October 2025

## Slide 2
From SRT: Luca Schirru, Giuseppe Carboni, Sergio Poppi, Matteo Murgia, Gian Paolo Vargiu, Mauro Pili, Pierluigi Ortu, Roberto Caocci, Silvio Pilia

## Slide 3: Agenda
Procurement (≤Y2022)
Receiver
Performance
Integration (≥Y2023)

## Slide 4: Part i: procurement

## Slide 5: Front-end survey
In 2016/2017, an internal review for future front-ends for the INAF radio telescopes was initiated by the Scientific Directorate of INAF.
Proposal for simultaneous observations at 22, 43, 90 GHz. Based on a receiver being used for >10 years at the Korea VLBI Network for high frequencies astrometry.
By combining observations at two frequencies, it is possible to transfer calibration data from 22 GHz up to ~100 GHz (Frequency Phase Referencing) to compensate for the non-dispersive phase errors due to tropospheric variations, greatly extending coherence time at high frequency.

## Slide 6: SRT-pon project approved
INAF project: Enhancement of the SRT for the study of the Universe at high radio frequencies – PI: F. Govoni
  WP1: Multi-beam cryogenic receiver in W Band for SRT (75-116 GHz) – PI: A. Navarrini
  WP2: Multi-beam cryogenic receiver in Q Band for SRT (33-50 GHz) – PI: A. Orfei
  WP3: Millimetre camera for SRT (80-116 GHz) – PI: M. Murgia
  WP4: Simultaneous mw CTR (K,Q,W-bands) receiving system for the three INAF radio telescopes – PI: P. Bolli
  WP5: Backends for SRT – PI: G. Comoretto
  WP6: Metrology System for SRT – PI: S. Poppi
  WP7: Integration – PI: A. Orlati
  WP8: HPC and storage systems for the archival and the use of the SRT data– PI: A. Possenti
  WP9: Upgrade of laboratories for the development of microwave technologies – PI: T. Pisanu
Approved budget: ~18.7 M€ (15% outside Sardinia)
Time-scale: 32 months starting from 25 June 2019  25 February 2022

## Slide 7: tender
On Feb. 2020, the tender awarded to KASI (only applicant)
On Nov. 2019, after a first unsuccessful attempt, a call for tender “Supply of three compact and simultaneous three-band microwave-receiving systems for the three Italian radio telescopes” was issued by INAF.
Delivery time: 25 months
Budget: 2.8 M€ (w/o VAT)

## Slide 8: Requirements
  3 receivers: 32-m MED, 32-m NOTO, 64-m SRT
  4 bands: K, Q, W-low (80-98 GHz), W-high (98-116 GHz)
  IF BW = 112 GHz (2 polarizations)
  Reasonably good receiver noise temperature
  Frequency independent aperture efficiency
  High dynamic for sun observation
  No chopper system for beam switching / no instrumental phase calibration (phase cal)

## Slide 9: Actual Schedule
KOM
CDR ($20%)
March/April
FAT ($30%)
Shipment
May /June
PDR ($20%)
July/August
COTS ($30%)
2020
2021
Sept/Oct
Nov/Dec
March/April
May /June
July/August
Sept/Oct
Nov/Dec
Jan/February
March/April
May /June
July/August
Jan/February
2022
FAT ($30%)
Shipment
Contract

## Slide 10: the tri-band receiver has been proposed by the INAF radio astronomical community. thanks to fortunate circumstances three units were immediately funded.

## Slide 11: in recent years (PON/PNRR) there has been a strong tendency to purchase receivers. skills in R&D on RECEIVER technology are therefore decreasing in our institute.

## Slide 12: Part ii: receiver

## Slide 13: SRT
MED/NOTO

## Slide 14
Yellow box

## Slide 15: Noise Power Budget Estimation
22 GHz

## Slide 16: W-band

## Slide 17
Tri-band
W-band
MF
Q-band
MF
W-band
bolometer
High-
C-band
K-band
MF
Rack
Antenna
focus
Weight ~350 kg
~2.9 m

## Slide 18: the tri-band receivers are custom systems designed by kasi in tight collaboration of INAF. they are conceived to satisfy all inaf radio telescopes constraints and interfaces.

## Slide 19: Part iIi: performance

## Slide 20: specs compliance

## Slide 21
Q-band
W-band

## Slide 22: Beam alingment
Ideal
Real

## Slide 23: Beam alingment
Near-field lab measurement at room and cryogenic temperatures. Crucial to conduct simultaneous observation for K/Q/W-bands.
Beam alignment error among the three frequency channels < 2-3 mm.
This corresponds to:
pointing off-set < 4-5 arcsec (wrt the W-band beam)
antenna efficiency loss < 3%
22 GHz
42 GHz
99 GHz

## Slide 24: Receiver gain
Receiver Gain

## Slide 25
Receiver noise temp.
Notes: For W-band, LO is set to 98 GHz. However, the gain and the noise temperatures between 96 to 100 GHz can be measured by tuning the LO frequency

## Slide 26
Wlow-band
Q-band
Whigh-band
K-band
QO loss 0.45-0.4dB
QO loss 0.2dB
Notes:     K-band: 60 k vs Mfeed at SRT = 20-40 K (measured)
    Q-band: 70 k vs Mfeed under-development for SRT = 22-35 K (estimated)
    W-band: 100 k vs CARUSO under-development for SRT = 75 K over 80% of 75-116 GHz (specification)

## Slide 27: Low paSS FILTER # 2
Transmit K-band / reflect Q-band
Resonance in the reflection coefficient at 46 GHz
Target loss  0.2 dB = 14 k
Measured loss  0.7 dB = 50 k

## Slide 28: Sensitivity (expected)

## Slide 29: Altough frequency simultaneity does not come for free, the tri-band receivers are state of the art equipments.

## Slide 30: Part iV: integration

## Slide 31: Receivers arrival: august 2022
Foto Noto e SRT
MED
SRT

## Slide 32: After that …….
 | Verification in INAF laboratories (vacuum, cooling, RF, M&C)
SRT | Skipped
MED | Sept. 2023 / Jan. 2024
NOTO | Nov. 2024

## Slide 33: After that …….
 | Verification in INAF laboratories (vacuum, cooling, RF, M&C) | Installation on the radio telescope (mechanical fitting and other tests)
SRT | Skipped | July 2023
MED | Sept. 2023 / Jan. 2024 | Sept. 2025
NOTO | Nov. 2024 | Nov. 2024 / April 2025 (now removed)

## Slide 34: After that …….
 | Verification in INAF laboratories (vacuum, cooling, RF, M&C) | Installation on the radio telescope (mechanical fitting and other tests) | Preliminary tests in antenna, first light and commissioning
SRT | Skipped | July 2023 | Since July 2024 (not continuosly)
MED | Sept. 2023 / Jan. 2024 | Sept. 2025 | >2025
NOTO | Nov. 2024 | Nov. 2024 / April 2025 (now removed) | >2026

## Slide 35
MED
SRT
NOTO

## Slide 36
See talks on Tuesday morning:
SRT status and challenges, S. Poppi
Multi-frequency enabling at the stations of Medicina and Noto, A. Orlati
Notes: Three units purchased, one for each of INAF radio telescopes (PON project).
Current hardware only allows to handle 6 IFs. Ongoing upgrade to expand to 8 IFs.
Each IF has a 4 GHz input bandwidth.

## Slide 37: Temporary solution
PHAROS multi-channel heterodyne rack is used to realize the operations of filtering, RF amplification and down-conversion from 2-8 GHz to 10–700 MHz  Only narrow band test and with constraints in the sky frequencies!
Combined with single-dish back-end SARDARA (Sardinia ROACH2-based Digital Architecture for Radio Astronomy) / fully operational since 2018.
Receiver is operated without using the dedicated component (not yet fully integrated in DISCOS).
Notes: Per applicazioni single-dish, a regime si useranno le SKARAB, al momento il sistema è stato solo parzialmente commissionato quindi si sta usando SARDARA che è invece fully-operational dal 2018 e quindi molto più attendibile e affidabile.
Il DBBC3 si usa solo in modalità VLBI, a parte un piccolo problema con un connettore interno che a volte fa perdere la connessione sarebbe già utilizzabile per dei test VLBI. Tuttavia, l'EVN non ha ancora fatto azioni decise per passare dal DBBC2 al DBBC3.

## Slide 38: RF Tests at INAF
NOTO, Mariotti
MED, Poloni
SRT, Schirru
Notes: The component to integrate the control of the tri-band receiver under DISCOS is almost completed.

## Slide 39: condensation
Differential temperature (DT) between vacuum window and ambient temperature: 13 °C.
NOTO/MED receivers upgraded with thermal insulators (foam)  DT = 6 °C.

## Slide 40: Waveguide switches
Normal Observation Mode (LNA included)
CH_A_SW1
TTL High – POS-2
CH_A_SW2
TTL Low – POS-1
CH_B_SW2
TTL High – POS-2
CH_B_SW1
TTL Low – POS-1
CH_A_SW1
TTL Low – POS-1
CH_A_SW2
TTL High – POS-2
CH_B_SW2
TTL Low – POS-1
CH_B_SW1
TTL High – POS-2
Sun Observation Mode (LNA Bypass)
LNA
(Gain : 26 dB)
Waveguide
Switch
LNA
(Gain : 26 dB)
Issues with the remote control of the W-band switches at SRT. Now solved by adjusting some jumpers in the controller board.

## Slide 41: If band
K BAND
Q BAND
W-HIGH BAND
W-LOW BAND
Gain reduction (~10 dB):
SRT:
  Q-band ch. B
  W-high ch. B
NOTO:
  Q-band ch. B
MEDICINA:
  OK (during lab tests)
SRT
Notes: banda K (alto a sinistra), banda Q (alto a destra), banda W-low (basso a sinistra) e W-high (basso a destra).

## Slide 42: Pointing Focus in k-band (19 Ghz)
FWHM (arcsec)
Meas: 58.7±1.4
Sim (GRASP): 60.44

## Slide 43: uncalibrated maps of 3c84 @ srt

## Slide 44: First ever Q-band images at srt

## Slide 45: Validation at srt
Tests | K | Q | W-low | W-high
IF band | Ch. A: OK Ch. B: OK | Ch. A: OK Ch. B: NO | Ch. A: OK Ch. B: OK | Ch. A: OK Ch. B: NO
Focusing | OK | OK | Not yet | Not yet
Pointing | OK (ele ~ 45°) | OK (ele ~ 45°) | OK (ele ~ 45°) | OK (ele ~ 45°)
Cal. mark | OK | OK | OK | OK
Mapping | OK | OK | OK | OK
System temperature | Higher than expected | Higher than expected | Higher than expected | Higher than expected
Antenna gain | Almost as expected | Lower than expected | Lower than expected | Lower than expected
Repeatability | Not yet | Not yet | Not yet | Not yet

## Slide 46: At the receiver arrivals, The radio telescopes were far to be ready to operate the PON receivers. even now some equipment is still not available. warranty expired; kasi always supportive.

## Slide 47: the first light is coming now at medicina, while several tests completed at SRT. Some issues are being noted requiring a continuous allocated time to fully debug the receivers. great opportunity to have three equal receivers.

## Slide 48: Thank you