## Slide 1
Yannis Argyriou
KU Leuven, Belgium
on behalf of ARIEL team
12/03/26
ioannis.argyriou@kuleuven.be
Preparing for the ARIEL System-level cryo-test campaign
Notes: Opening act for my colleagues >_<

## Slide 2: Table of contents
Intro and the A-Team
The ARIEL system (refresher)
Instrument level testing summary
Integrated System level testing
Conclusions
Notes: Extra material: Lessons learned JWST-MIRI

## Slide 3: Intro: KU Leuven 30+ years in space mission calibration and AIT
ESA ISO mission
ESA Herschel space observatory
NASA-ESA-CSA JWST
ESA PLATO mission
CubeSpec@KUL
NASA-ESA Habitable Worlds
ESA ARIEL mission
1995
2026

## Slide 4: Intro: My journey so far
JWST-MIRI MRS Instrument Scientist
(2016-now)
ELT-METIS AIT Performance Lead
(mid-23 – now)
ARIEL Calibration Lead
(mid-23 – now)

## Slide 5: Intro: My journey so far
JWST-MIRI MRS Instrument Scientist
(2016-now)
ELT-METIS AIT Performance Lead
(mid-23 – now)
ARIEL Calibration Lead
(mid-23 – now)

## Slide 6: Intro: The A-Team
AIRS instrument-level test team (Paris, France)
FGS instrument-level test team (Warsaw, Poland)
Clara Bataillon,
CEA
Christophe Cossou,
CEA
Thibault Pichon,
CEA
Jérôme Amiaux,
CEA
Eitan Pechevis,
LIRA
Jean-Michel Reess,
LIRA
Mirek Rataj, CBK
Grzegorz Szymański, CBK

## Slide 7: Intro: The A-Team
Presentation on FGS characterization by Grzegorz Szymański after this talk.
Presentation by Clara Bataillon on AIRS characterization at 10:20 today after FGS presentation.
Clara Bataillon,
CEA
Grzegorz Szymański,
CBK

## Slide 8: The ARIEL System (refresher)
Orbit: Sun-Earth L2 (JWST/GAIA)
Elliptical M1: 1.1 x 0.7 metres
Instrumentation:
5 dichroics 
3 phot channels (0.5-1.1μm)
3 spectrometers (1.1-7.8μm)
Detectors: MCT arrays

## Slide 9: Instrument level testing summary
AIRS instrument testing to take place in SimEnOm test chamber @LIRA (formerly LESIA) in Meudon, Paris (iCDR happening now!)
FGS instrument testing to take place @CBK, Warsaw (iCDR end-25’)
CBK TVAC chamber (1m3 volume)
Notes: FGS TVAC figure from ARIEL-CBK-INST-PL-001

## Slide 10: Instrument level testing summary
Instrument-level testing is critical to derive calibration solutions that will be our go-to reference until launch and during commissioning. It is the longest test campaign (~months versus ~days for integrated system performance testing), following the long detector tests.
No sci instrument-only test campaign with instruments, common optical bench, dichroics and M3+mirrors. Full Integrated System with M1+M2 test will suffer from large aberrations on M1 due to gravity in combination with an M1 quarter-aperture illumination.
Instrument-level activities to derive calibration products, Integrated System test campaign to check validity of calibration.
Notes: FGS TVAC figure from ARIEL-CBK-INST-PL-001

## Slide 11: Instrument level testing summary - AIRS
Knowledge of relative pointing between channels better than 1/10th of a pixel (1σ) – Rel pointing with FGS during system-level testing
Wavelength solution accuracy better than 1/3rd spectral bin
CH0: 1.95-3.9μm, CH1: 3.9-7.8μm
Ext: 1.75-4μm, & 3.65-7.8μm
R>=100 below 3.9um R>= 30 above 3.9um

## Slide 12: Instrument level testing summary - FGS
Knowledge of relative pointing between channels better than 1/10th of a pixel (1σ) – Rel pointing with AIRS during system-level testing
VISPHOT: 0.5-0.6um, FGS1: 0.6-0.8um, FGS2: 0.8-1.1um, NIRSpec: 1.1-1.95um
Gain per pixel known better than 10% 1σ.
Flat field better than 0.5% 1σ (monochromatic=challenging).
OGSE, FGS Control Unit and FGS

## Slide 13: Integrated System-level testing
Integration of all sub-systems at RAL Space, UK
Reminder: No integrated science instrument module (“ISIM”) test campaign à-la-Webb
Dedicated OGSE with stringent stability requirements.
Happy ARIEL STM and happy RAL team
November 24, 2025
System Requirement | Value
Noise floor | 20 ppm
Gain noise | 40ppm
Jitter noise | 20 ppm
System Requirement | Value
Noise floor | 20 ppm
Gain noise | 
Jitter noise | 20 ppm

## Slide 14: Integrated System-level testing – The A’-team
The OGSE used for the System-level testing is developed and built in Oxford, UK, by these wonderful people
Rebecca Holleb
Neil Bowles
Adam Wilkinson
Jake Hutchison
Robert Spry

## Slide 15: Integrated System-level testing – The facility at RAL

## Slide 16: Integrated System-level testing – The facility at RAL
S/C configuration parallel to ground, i.e. perpendicular to gravity vector (keep in mind for later).

## Slide 17: Integrated System-level testing – The OGSE
BB source VIS-IR, flux limits: -HD 219134 (K=3.2mag) -GJ 1214 (K=8.8mag)
Monochromator VIS-IR
Two reference detectors inside integrating sphere
Alignment camera will constantly take images during TVAC campaign

## Slide 18: Integrated System-level testing – Requirement Verification
STOP analysis produces WFE maps that can be converted to PSF cubes injectable in ExoSim (Mugnai, Bocchieri et al.).
Shape of ground PSF affects accuracy of centroid positions for relative FGS/AIRS alignment.
In-flight: Full aperture (200 nm) + 0g
On-ground: Flight shims + quarter aperture + 1g
FGS1
FGS2
VISPHOT
AIRS-CH1
AIRS-CH0
Notes: Results from simulations (e.g. wavecal and pencil PSF)  System level checks give part of the story (they might match the expectation based on theoretical degrading of requirements for gravity and quarter-aperture, but they do not tell us if we have it right in case there is a problem, i.e. no probing power)
+ PIP plate for temperature variation (thermoelastic effects)

## Slide 19: Integrated System-level testing – Requirement Verification
σy = 12.4 pix
σx= 1.2 pixels
σx= 1.0 pixels
σy = 0.7 pix
Relative alignment
verification implications
Not enough M2 range
 Looking at shimming solutions

## Slide 20: Integrated System-level testing – Requirement Verification on behalf of Jérôme Amiaux (CEA) and Jean-Michel Reess (LIRA)
In-flight
performance

## Slide 21: Integrated System-level testing – Requirement Verification on behalf of Jérôme Amiaux (CEA) and Jean-Michel Reess (LIRA)
Ground
performance

## Slide 22: Integrated System-level testing – Requirement Verification on behalf of Jérôme Amiaux (CEA) and Jean-Michel Reess (LIRA)
In-flight performance
Ground performance
Spectral resolution AIRS CH0
 PASS/FAIL criteria reflect degraded performance expectations but degeneracies in case of issues

## Slide 23: Conclusions
System-level testing will certainly be challenging ( exciting!)
The results from the instrument-level testing will set baseline for calibration solutions / cal products from ground to flight.
Shimming (hardware) solutions being looked into to compensate for pencil-like PSF.
All teams hard at work to make the mission successful (so many people have not been credited, but everyone deserves praise).
ARIEL Consortium Meeting Lisbon ‘24