## Slide 1: Reaching the ultimate read noise with an advanced pipeline (JWST)
Michael Regan and Eddie Bergeron
And the GARDEN team

## Slide 2: The GARDEN Survey
GARDEN’s goal is to investigate 56 galaxies in the range of Z ~ 1 – 6
  We know little of the details of these very young galaxies
    lookback of 8 billion to 13 billion years ago
  Goal is to measure stellar and gas spectra over the galaxies
  This requires deep exposures with time on source of 10 - 60 hours for each NIRSpec slit
  These deep exposures reveal the weaknesses in the JWST pipeline.

## Slide 3: GARDEN Observations are the deepest observations taken with JWST
Each 2-hour exposure is split into three 40-minute integrations
Each Micro-shutter Array (MSA) configuration has five-dithered exposures
Components of flux in spectra:
  “Dark Current” ~8 electrons per thousand seconds
  Zodiacal Light ~ 3 electrons per thousand seconds
  Galaxy Continuum ~5 electrons per thousand seconds
CDS read noise ~13 electrons

## Slide 4: Each GARDEN exposure has three 40-minute integrations for a total of two hours.

## Slide 5: Cosmic Ray impact over one detector in one exposure

## Slide 6: A zoomed is showing that about 2/3 of the pixels have been hit by a cosmic ray.

## Slide 7: Primary Challenges
Persistence from cosmic rays and snowballs
Unmasked bad pixels
Thermal instability
Amplifier issues (1/f and other effects)
Incorrect methods to develop reference files:
  Read noise incorrectly derived
  Confusion due to multiple reference files masking bad pixels

## Slide 8: Before and after corrections

## Slide 9: Before and after corrections

## Slide 10: Detector 1 Pipeline – Removes detector effects
Red borders are updated files or pipeline steps
Thick borders are new steps

## Slide 11: Persistence

## Slide 12: Persistence Model
Depletion Region
Mobile holes
Mobile electrons
-
-
-
-
-
+
+
+
+
+
+
+
+
+
+
-
-
-
-
-
Empty Electron Depletion Region
Filled Hole Trap
-
-
-
+
+
+
-
-
-
-
-
+
+
+
+
+
Reset/Idle
Time 1
End of Exposure
+
+
+
+
+
-
-
-
-
-
-
-
-
+
+
+
Pixel Reset
Flash of charge
Long delay after flash
Start of exposure
Regan and Bergeron 2017
2027 Smith, R. et al 2008
Charge is lost
Persistence in next integration
Time

## Slide 13: Saturation persistence from the first Integration
Integration 3
No flagging
With flagging
Integration 2
Elliptical snowball residual persistence shows up in the 2nd and 3rd integrations
Flagging the pixels that were saturated removes the residual persistence

## Slide 14: Saturated Snowball Persistence between Exposures
The white circles are the residual saturation persistence from the previous exposure

## Slide 15: First group snowball flagging
The white rings are the
saturated outer regions of
snowballs in the first group
Inserting a blank group
before the first group allows
snowballs in the first group to be detected.

## Slide 16: Persistence from non-saturated cosmic rays

## Slide 17: The longer the charge is on the pixel, the greater the persistence magnitude

## Slide 18: Persistence from non-saturated cosmic rays

## Slide 19: Reference File Updates

## Slide 20: Dark Current and bad pixel masks: Dark Current Median rate of 60 exposures

## Slide 21: Dark Current and bad pixel masks: Short dark – Long Dark

## Slide 22: Dark Current and bad pixel masks: Darksubdark replacing negative values with long values and high rate pixels flagged

## Slide 23: Adding light to the image

## Slide 24: Final Masking

## Slide 25: Incorrect Read Noise Reference File
Pipeline step uses one reference file for all values of grouped frames.
Just divides by the square root of the number of frames per group
Red are read noise values using just dividing by sqrt(5)
Blue are read noise values averaging five frames into a group and then measuring the read noise.

## Slide 26: Random Telegraph Noise (RTN)
Single Sample
Averaged into 5 frame groups

## Slide 27: Picture Frame Thermal Response

## Slide 28: Differences between groups after Jump Step

## Slide 29: Correcting for thermal bias effects

## Slide 30: Other amplifier effects : Even/Odd Diff

## Slide 31: Other amplifier effects : Even/odd rate

## Slide 32: Other amplifier effects : 1/f correction to differences

## Slide 33: The 1/f correction over-subtracts the flux. We correct this by bringing the unilluminated region to zero.
Red is the column medians before
Previous corrections
Blue is the column medians after
adding back in the missing flux

## Slide 34: Comparison of Baseline with our Corrections

## Slide 35: A single exposure in the unilluminated region of the detector.

## Slide 36: Dithered images before and after corrections

## Slide 37
λ
spatial x
spatial y
λ
spatial x
spatial y
λ
spatial x
spatial y
λ
spatial x
spatial y
H⍺ line map
Vrot = 0 km s-1
H alpha and NII in CANDELS 9474, Z = 2.1274

## Slide 38: H alpha and NII in CANDELS 9474, Z = 2.1274
Mulcahey et al 2026, in prep

## Slide 39: CANDELS 12624, Z=1.9974
Sukay et al 2026, in prep

## Slide 40: CANDELS 12624, Z=1.9974
Before
After

## Slide 41: Future Work
Improve Cosmic Ray persistence by using the magnitude and timing to optimize masking
Improve Dark Current bad pixel masking by limiting time scale of bad pixel detection to time of observations
Investigate Increasing the number of integrations within an exposure (shorter integrations)
  The 40-minute integration time leads to long term persistence
  More integrations yields more resets which switches from trap capture to trap decay

## Slide 42: Conclusions
There is a lot of signal available in JWST images that can be recovered.
Up-the-ramp provides a lot of information that provides flexability.
A big mirror can be misleading
Persistence is a pain

## Slide 43: Saturation propagation between exposures

## Slide 44: Bias in Picture Frame

## Slide 45: Other Corrections
Open pixels were not flagged
Small amplifier jumps in exposures
Sigma clipping to find cosmic rays