## Slide 1: STILES
WP4301- Laboratory Plasma Spectroscopy
@Catania Astrophysical Observatory
Francesco.Leone@inaf.it

## Slide 2: GOAL:
Exegesis of astrophysical spectra with attention to ANDES@ELT and NewAthena
The Laboratory for Plasma Spectroscopy @ OACT

## Slide 3
Exegesis of astrophysical spectra
|B|= 5 kG
synthetic
observed

## Slide 4: GOAL:
Exegesis of astrophysical spectra with attention to ANDES@ELT and NewAthena
MOTIVATION:
The Laboratory for Plasma Spectroscopy @ OACT
There is a scarcity of experimental atomic data
The differences in wavelengths between ab-initio calculations and experimental values are usually larger than 5%

## Slide 5
Cast a cold eye on scarcity
Atomic data in Space
Mining the ‘’National Institute of Standards and Technology’’ database:
Number of experimental spectral lines per species and wavelength
In principle, any ion emits an infinite number of spectral lines.
Pls, remined that spectral emission from a
Cold plasma is due to neutral and low-ionised atoms, mainly in the visible range
Hot plasma is due to highly-ionised atoms, mainly at the shortest wavelengths
known knowns
in the visible range
unknown knowns
at any wavelength

## Slide 6: GOAL:
Exegesis of astrophysical spectra
High-resolution spectroscopy of each atomic species, covering all ionisation states, one by one, ideally at any wavelength
METHOD:
MOTIVATION:
The Laboratory for Plasma Spectroscopy @ OACT
There is a scarcity of experimental atomic data
The differences in wavelengths between ab-initio calculations and experimental values are usually larger than 5%

## Slide 7
X-Ray Spectrograph
Laser-Produced Plasma
McPherson 251MX
Rmax= 700
0.6 - 20 nm range
DREEBIT EBIS-A
The Plasma Laboratory @ OACT was created to
- ionise atoms in controlled conditions and without risk
- perform high-resolution spectroscopy, at all wavelengths
Bruker IFS 125 HR
R(500 nm) = 5.7 107
200 nm – 12 m range
Fourier Transform Spectrograph
Plasma Source

## Slide 8: We design the Plasma Source inspired by NIST Electron Beam Ion Trap
magnet coils
Tion[MK]
0.15
0.41
0.64
0.90
1.32
1.60
8.58
10.1
EBIT mimics million-degree temperatures in safe conditions

## Slide 9
Electron
Beam
Ion
Source
permanent magnets
neutral atoms
electron gun
electron beam
drift tubes
ion cloud
In collaboration with the manufacturing company
We design the Plasma Laboratory based on an

## Slide 10
Focused on spectroscopy, instead of an EBIT, we preferred an EBIS from which ions can be extracted
simultaneous
Solution depends on unknown electron impact cross-sections

## Slide 11
Instead of an EBIT, we preferred an EBIS from which ions can be extracted
equipped with
ions
to measure their
Charge-Distribution
ions
We change the charge-distribution
to uniquely identify the ion responsible for a spectral line

## Slide 12
Charge state analyser
ions
Magnetic Quadrupole
Magnetic Quadrupole
ions
We can directly measure electron impact cross-sections

## Slide 13
The 20 keV electron gun
is enough to fully ionise iron
and reduce to He-like configuration all atoms
up to Tungsten
Which ions ??

## Slide 14: Direct gas injection
Which chemical elements can be ionized?
Feeding the EBIS:

## Slide 15: Feeding the EBIS:
C
C
C
C
C
C
C
C
C
C
V
C
C
C
C
C
H
C
C
C
C
C
C
C
H
H
H
H
H
H
H
H
H
H
Ti
H
H
H
H
H
H
H
H
H
MIVOC (Metal Ions from Volatile Compounds)
Liquids and solids sublimating in vacuum at room temperature
MIVOC
Metallocenes
C
C
C
C
C
C
C
C
C
C
Fe
C
C
C
C
C
H
C
C
C
C
C
C
C
H
H
H
H
H
H
H
H
H
H
Ni
H
H
H
H
H
H
H
H
H
Iron-peak elements

## Slide 16
Feeding EBIS with the heaviest elements:

## Slide 17
https://www.hzdr.de/db/Cms?pOid=59382&pNid=0
T = 1500 °C
LMAIS
Feeding EBIS with the heaviest elements: LIQUID METAL ALLOY ION SOURCE
the melting temperature of a metal is lowered in alloys
Iow charge ions
Iow charge ions to be further ionised
Magnetic Quadrupole

## Slide 18: THE SPECTROGRAPHS

## Slide 19: X-Ray Spectrograph McPherson Model 251MX sharing the Ultra High Vacuum (10-10 mbar) with no port-view l = 0.6 - 20 nm Detector: Andor camera
0.6 to 6
2044 to 207
MOTIVATION
Cross-check vs 251MX@EBIT@CfA
Iron
Magnesium

## Slide 20
251MX
NewAthena/X-IFU
17/03/26

## Slide 21
IFS 125 HR from BRUKER
n = 800 - 50000 cm-1 (= 200 nm – 12 mm) in vacuum (0.02 mbar)
dn = 0.0035 cm-1 R = n / dn = 0.115 – 14 x 106

## Slide 22
dn = 0.0035 cm-1 R = n / dn = 0.115 – 14 x 106
MOTIVATION
Resolving Hyperfine split
The only direct method to measure the Landè g-factors
IFS 125 HR from BRUKER
n = 800 - 50000 cm-1 (= 200 nm – 12 mm) in vacuum (0.02 mbar)

## Slide 23: A SPAD linear detector for a direct measure of Einstein coefficients

## Slide 24
LASER-Produced Plasma
Pulsed Nd:YAG Q-SMART 850:
850mJ@1064nm, 10Hz,
9mm beam diameter,
6ns pulse duration
MOTIVATION
easy spectroscopy of low-charged ions
expanding plasma

## Slide 25: ULTRA-BROAD BAND LASER-COMB for GIANO + HARPSN @ TNG based on a 10GHz pulsated laser
In collaboration with:
Istituto di Fotonica e Nanotecnologie - CNR Milano
Dipartimento di Fisica - Politecnico di Milano
Resolving power was only 25000
Case GIANO
1200 nm

## Slide 26
Some few brief considerations on the laboratory
17/03/26
WP4301 – Laboratory Plasma Spectroscopy

## Slide 27
The Laboratory for Plasma Spectroscopy @ OACT
aligns INAF with prominent institutions such as NIST, LLNL, CfA and JAXA
In experimental plasma physics
and, grants autonomy in
- taking measurements of atomic data
- testing our own instrumentation

## Slide 28: ANDES@ELT will not provide evidence of r-process in neutron star mergers if we don’t build an atomic database of highly ionised heavy-elements
R=500
The Laboratory for Plasma Spectroscopy @ OACT
for the challenges posed by the new high-resolution spectrographs

## Slide 29: The future
The plasma laboratory is an INAF resource and is open to anyone who thinks they could benefit from it.
The Lab is rather complex and fragile: a dedicated researcher and fundings for maintenance are necessary for its operation.

## Slide 30
My thanks go to
Adriano, who made all this possible, and Angela for leading the WP.
The entire administrative staff for their help.
I also thank all of you for your time.
If you are interested, write to
francesco.leone@inaf.it
17/03/26
WP4301 – Laboratory Plasma Spectroscopy