## Slide 1: STILES
6k @ CT (6301 and 6601)
Giuseppe Leto, Matteo Munari
Napoli 16-18 3 2026

## Slide 2: 6k @ CT = 6301 & 6601 both in Catania
6301: Inertial platform (G.Leto)
6601: Scatterometer (M.Munari)

## Slide 3: 6301: Inertial Platform - What is It
Custom Platform (Mounting + Optical Bench) for large field optical systems
Some requirements:
  Mounting must allow the use of instrumentation up to 300kg weight
  And allow the use of to 80 cm telescope
  Using specific interfaces, must allow the mounting of the optical bench
  The system must be ASCOM compliant

## Slide 4: 6301: Inertial Platform Completed activities
Mount mechanics has been assembled (Astro Alliance S.r.l)
Electronic and control has been implemented
Lab tests done
According to manufacturer report the system fulfill the requirements

## Slide 5: 6301: Inertial Platform Remaining activities
Optical bench final implementation
‘Field tests’ : pointing and tracking of an astronomical object
DNSH
After these operations, the platform will be officially accepted and paid
Ancillary activities completed

## Slide 6: 6601: Scatterometer- What is It
Instrument to measure scattering properties of sourfaces (samples)
CASI scatterometer by TheScatterWorks
It measures : BRDF, BTDF, transmittance and reflectance (samples)
Monochromatic (HeNe)
Accuracy 5%
Sample : 15cm size, 2 kg weight (in vertical)
AoI: 0-85 deg
Mesurement angle : 360°

## Slide 7: 6601: Scatterometer- What is It- Upgrade
Hepa filter  BRDF down to 5e-8 /sr (lambertian white: 1/pi /sr)
Super continuum White laser, tuneable filters and IR detector  form 415 to 2000nm
Polarimetric module

## Slide 8: 6601: Scatterometer- Status
Both standard system and upgrade
Delivered, tested and installed in Dec 25
Training from TheScatterWorks
Lab room ‘upgrading’ just ended

## Slide 9: 6601: Scatterometer- Status
Both standard system and upgrade
Delivered, tested and installed in Dec 25
Training from TheScatterWorks
Lab room ‘upgrading’ just ended

## Slide 10: 6601: Scatterometer- Future
Let’s use it!
The instrument is a ‘standard’ but needs some operator training and practice
Cross-testing
‘Bulk’ characterization of mechanical and optical surfaces
Asset to be shared in INAF and in international projects