## Slide 1
Toward ELT observations Preparation:
The ‘’AO performance and PSF simulations’’
Working Group
Benoit Neichel on behalf of the Working Group
WFS workshop – Arcetri – Oct. 2019

## Slide 2
Toward ELT observations Preparation:
The ‘’AO performance and PSF simulations’’
Working Group
Benoit Neichel on behalf of the Working Group
WFS workshop – Arcetri – Oct. 2019

## Slide 3
Context
There will be only 1 ELT => Each photon counts.
How to optimize the operations so we make the best use of this big machine ?

## Slide 4
Context

## Slide 5
Context

## Slide 6
Context

## Slide 7
Context

## Slide 8
Context
These Working Groups involve scientists from all the ELT instruments

## Slide 9
Context

## Slide 10
Need first to define a simulation strategy

## Slide 11
Strategy for AO Simulation
Full E2E
Analytical
Pros:
Very accurate
Able to model specific effects
Cons:
Convergence time is slow
Require a lot of computing power
Ex. Tools:
- OOMAO, PASSATA, COMPASS, YAO, SOAPY, …
(And we can think on using hybrid methods, mixing E2E and analytical)
Pros:
Very fast
No need for big computer
Cons:
Not able to model all aspects
Some assumptions to be known
Ex. Tools:
- FAST, PAOLA, CIBOLA, …

## Slide 12
Strategy for AO Simulation
Full E2E
Analytical
Pros:
Very accurate
Able to model specific effects
Cons:
Convergence time is slow
Require a lot of computing power
Ex. Tools:
- OOMAO, PASSATA, COMPASS, YAO, SOAPY, …
(And we can think on using hybrid methods, mixing E2E and analytical)
Pros:
Very fast
No need for big computer
Cons:
Not able to model all aspects
Some assumptions to be known
Ex. Tools:
- FAST, PAOLA, CIBOLA, …
(May be ok for SCAO)
(Certainly required for MCAO, LTAO, as they will need to scan many constellations)

## Slide 13
PSF Analytical Approach
Laser (High-Order) PSF
NGS (Low-Order) PSF
PSF = PSF_HO * PSF_LO

## Slide 14
PSF Analytical Approach
Laser (High-Order) PSF
NGS (Low-Order) PSF
PSF = PSF_HO * PSF_LO
Depends on Cn2, seeing, L0, LGS constellation, LGS flux.
Depends on Cn2, seeing, L0, NGS constellation, NGS flux.
To a first order, this is very variable.
To a first order, this is mostly constant.

## Slide 15
PSF Analytical Approach
Questions: How to find the best NGS asterism ?
How to get the LO PSF from this constellation ?

## Slide 16
It depends on many parameters… let’s try to simplify it…
Simulation strategy:
Residual errors are computed in an “error budget” fashion:
Tomography: depends on the distance (and number) of the NGSs + Cn2
Temporal errors: this only depends on the NGS loop frequency.
Noise propagation: This depends both on the distance and magnitude of the stars, as well as the WFS choice…
PSF Analytical Approach
Questions: How to find the best NGS asterism ?
How to get the LO PSF from this constellation ?

## Slide 17
It depends on many parameters… let’s try to simplify it…
Simulation strategy:
Residual errors are computed in an “error budget” fashion:
Tomography: depends on the distance (and number) of the NGSs + Cn2
Temporal errors: this only depends on the NGS loop frequency.
Noise propagation: This depends both on the distance and magnitude of the stars, as well as the WFS choice…
Questions: How to find the best NGS asterism ?
How to get the LO PSF from this constellation ?
PSF Analytical Approach

## Slide 18
Tomography
Temporal
Noise
PSF Analytical Approach

## Slide 19
Tomography
Temporal
Noise
MASCOT – D. Gratadour
PSF Analytical Approach

## Slide 20
Tomography
Temporal
Noise
MASCOT – D. Gratadour
PSF Analytical Approach

## Slide 21
Tomography
Temporal
Noise
Gemini Observing tool
PSF Analytical Approach

## Slide 22
Tomography
Temporal
Noise
Gemini Observing tool
Schrimer et al., ApJS, 2014
PSF Analytical Approach

## Slide 23
Tomography
Temporal
Noise
(So far we have mainly worked on this term)
we need to revisit those methods for the EELT
PSF Analytical Approach

## Slide 24
Impact on residual jitter of different NGS constellation
For 40m Telescope – L0 = 25m
Tomography
NGS error budget
e.g. Sasiela, Chassat, Whiteley…

## Slide 25
Impact on residual jitter of different NGS constellation
For 40m Telescope – L0 = 50m
Tomography
NGS error budget

## Slide 26
First need to determine the rejection transfer function.
It depends on the controller performance…
Assuming ELT scheme with M4/M5 we could have:
NGS error budget
Temporal

## Slide 27
First need to determine the rejection transfer function.
Then, need to know the inputs, it may be Turbulence and Windshake
Still assuming an EELT configuration, we have:
Turbulence
NGS error budget
Temporal

## Slide 28
First need to determine the rejection transfer function.
Then, need to know the inputs, it may be Turbulence and Windshake
Finally, simply apply the rejection:
Turbulence
NGS error budget
Temporal

## Slide 29
First need to determine the rejection transfer function.
Then, need to know the inputs, it may be Turbulence and Windshake
Finally, simply apply the rejection.
Eventually – play with the NGS gain, and loop frequency
NGS error budget
Temporal

## Slide 30
Noise depends first of all on the WFS strategy chosen.
For instance, for SH, noise coefficients have been well studied, and are defined as:
e.g. Rousset et al., Nicolle et al.
NGS error budget
Noise
Photon Noise
Read-Out Noise

## Slide 31
Noise depends first of all on the WFS strategy chosen.
For instance, for SH, noise coefficients have been well studied, and are defined as:
e.g. Rousset et al., Nicolle et al.
NGS error budget
Noise
Photon Noise
Read-Out Noise
weighting
diffraction
FWM of subap. PSF

## Slide 32
Noise depends first of all on the WFS strategy chosen.
For instance, for SH, noise coefficients have been well studied, and are defined as:
e.g. Rousset et al., Nicolle et al.
NGS error budget
Noise
Photon Noise
Read-Out Noise
weighting
diffraction
FWM of subap. PSF
This is however not valid anymore in presence of residual turbulence.

## Slide 33
NGS error budget
Noise
Wok done by Thierry !!

## Slide 34
NGS error budget
Noise
Wok done by Thierry !!

## Slide 35
NGS error budget
Increasing residual phase seen by the WFS
Good SR regimes
Seeing limited regimes

## Slide 36
NGS error budget
Noise
“Good SR” regime
(SR > 10%)
Seeing limited regime

## Slide 37
NGS error budget
Noise
“Good SR” regime
(SR > 10%)
Seeing limited regime

## Slide 38
1. For a given field, we can compute, for each star:
The anisoplanatism
The temporal error
The noise coefficient
Note: an optimization between noise and temporal error can be performed
2. Reproduce the process for each pair of stars
3. Reproduce the process for each 3NGS constellation available
Then simply sort the results by performance, and pick the best one !
Context
Tomography
Temporal
Noise
Questions: How to find the best NGS asterism ?
How to get the LO PSF from this constellation ?

## Slide 39
Application to HARMONI (LTAO for the EELT)
Test on “classical” cosmological fields

## Slide 40
Application to HARMONI (LTAO for the EELT)

## Slide 41
Application to HARMONI (LTAO for the EELT)
Impact of Cn2 profile (from old ESO to new 35 layers)

## Slide 42
Application to HARMONI (LTAO for the EELT)
Impact L0 (from 50m to 25m)

## Slide 43
Application to HARMONI (LTAO for the EELT)
Impact L0 (from 50m to 25m)

## Slide 44
CONCLUSIONS
First steps will be to explore the simulation tools available and define the strategy
Some solutions already exists on the market, but probably will need to develop specific tools
Work has just started !