## Slide 1: SOXS
On behalf of Riccardo Claudi e Federico Biondi
INAF-OAPD-days
Padova, 17-18 Giugno 2019
Notes: coinvolto ma supplisco Biondi e Claudi

## Slide 2
… but despite the name, there are a lot of differences!
i.e.
- @Nasmyth (not Cassegrain)
- 2 channels (not 3)
- New smart design for UVVIS arm
Son Of X-Shooter
Double Spectrograph
for follow up of Transient Sources
Notes: nuova piattaforma

## Slide 3
-- Destination:
  Nasmyth platform of 3.5m NTT@ESO La Silla
-- Timeline:
  2014  ESO call for ideas at the NTT
  2015  SOXS selected among 19 proposals
  2017  PDR passed
  2018  FDR passed + 1st National SOXS Meeting
  2019-20  Procurement & AIT Phase in Europe
  2020-21  AIT and Commissioning in Chile

## Slide 4
CONSORTIUM
INAF
Milano  PI-ship + Mechanics + Instrument Scientist
Napoli  PM + Electronics
Padova  SE + Common path + AIT + SW
Catania  Optical Design + CryVacuum System
Roma  NIR Spectrograph + NIR Detector
TNG  UV-VIS Detector
Weizmann Institute
 UV-VIS Spectrograph
Universidad Andres Bello + Millennium Institute
 Acquisition Camera
University of Turku
Calibration Unit
Pipeline
Queen’s University Belfast
Science Board

## Slide 5
PADOVA TEAM
System
Science
Software
Riccardo Claudi
System engineer
Federico Biondi
AIT Manager
Andrea
Baruffolo
Control SW Manager
Davide
Ricci
Massimo Turatto
Enrico Cappellaro
Bernardo Salasnich
Marco De Pascale

## Slide 6
SCIENCE CASE
Golden Age of time-domain astronomy:
--- deep ground-based optical surveys (PanSTARRS, Dark Energy Survey, SkyMapper, Zwicky Transient Factory, Large Synoptic Survey Telescope, etc.)
--- space-based optical surveys (Gaia and Euclid)
--- high-energy instruments (Swift, Fermi, INTEGRAL, MAXI and SVOM, CTA)
--- radio surveys (LOFAR, MeerKAT, SKA)
--- Gravitational Wave (GW) experiments (A-VIRGO, A-LIGO)
--- neutrino experiments (KM3Net, ICECUBE, ANTARES)
all calling for a rapid follow-up and characterization (and distance determination) of the detected transients.
40% of astronomical papers on Nature (2005-2014)  transient objects/events.
NOTE: Transients discovered by current surveys have limiting magnitudes R~20, that are well suited to be followed-up by a 4 m-class telescope.

## Slide 7
Current ESO answer is PESSTO/ePESSTO @NTT (90n/yr):
initially focused on SN, now open to more science cases
service classification activity
64 papers in 5 years and ~600 ATel (2018)
EFOSC2 + SOFI (aged & inefficient)
BOTTLENECK: spectroscopic classification and follow-up
Forthcoming ESO answer is SOXS@NTT:
a facility fully devoted to transient science
Opt+NIR, hence replace EFOSC2 + SOFI

## Slide 8
SOXS SCIENCE CASES:
Classification (service)
SNe (all flavours)
GW & 𝝼 counterparts
TDE & Nuclear transients
GRB & FRB
X-ray binaries & novae, magnetars
Moving minor bodies in the solar system (Asteroids, Comets, …)
Young Stellar Objects & stars
Blazars & AGN
Unknown

## Slide 9
OPERATIONS (TBFD)
ESO will reward the SOXS consortium with observing time: ~180n/yr (rest for ESO)
SOXS consortium responsible for the operations. Flexible schedule on a day-by-day basis (one day in advance) (SOXS+ESO targets).
SOXS team (3 people) on weekly rounds to cope with observations (schedule, classification, etc.) and on call for reaction to GW (GRBs, etc.) with fast (<1hr) ToO and problems.
ESO-TNO to carry out observations.
<5% of the consortium time open to the community as ToO (Swift-like) observations (public data).
Relevant information (classification, peculiar sources, etc.) announced in real time through GCN, ATel, IAUC, etc.
Consortium data public after a short (6-12 m - TBD) proprietary period.
Notes: To be fully defined

## Slide 10
TECHNICAL ASPECTS
UV-VIS Spectrograph
λ = 350 – 850 nm
R = 4500
4 polychromatic beams produced by ion-etched gratings
NIR Spectrograph
λ = 800 – 2000 nm
R = 5000
4C concept based cross dispersed echelle
Calibration Unit
Pinhole mode for star simulation
Acquisition Camera
Monitor targets / Monitor Spectrographs alignment / VIS Photometry
+ pinhole mode for alignment purposes
Total Mass ca 800 kg
Bearing diameter ca 1600 mm
Notes: UV-opt no echelle ma “quasi-order”, range spettrali
4C concept spiegato dopo
Sovrapposizione dovuta a dicroico per calibrazione 2 rami (stesso per quasi-orders”)

## Slide 11
COMMON PATH@ OAPD
The dichroic feeds the 2 arms
Takes input from CU
Gives input to AC, UVVIS, NIR
Piezo Tip/tilt Folding Mirrors for flexures compensation
Atmospheric Dispersion Corrector
Common Path AIT
Backbone of the instrument
Notes: INTEGRATO DAPPRIMA DA SOLO A PD

## Slide 12
UV-VIS Arm
Cryostat
Feeding “floor”
Camera “floor”
Next slide
Notes: SU 2 PIANI

## Slide 13
Off Axis Parabola
Feeding “upper floor”
Slit
Gratings
Dichroics
UV-VIS Arm
Notes: DETERCTOR SU PIANO INFERIORE

## Slide 14
Camera “lower floor”
Aspheric Mirror
CaF2 Corrector
Detector
Field Flattener
E2v CCD44‐82 2K x 4K CCD
UV-VIS Arm
Notes: ATTESI 4 SPETTRI ORIZZONTALI
SLIT LENGTH 12 ARCSEC IN OPT & NIR

## Slide 15
NIR Arm
Notes: TUTTO raffreddato a 150K
Detector a 40 K

## Slide 16
NIR Arm
Teledyne
HAWAII 2RG
HgCdTe array
Notes: Speculare a slide precedente
S slit
CM collimatore
Prismi
Grating
Prismi
CM
FM folding mirror
camera

## Slide 17
NIR Arm
4C design (collimator compensated
camera chromatism) + «COTS» grating
Maksutov off-axis all spherical - collimator
One aspheric optic in the camera
Disperser (prisms)
Slit

## Slide 19
AIT@system level is conduced twice
@ INAF – OAPD laboratories (Padova, Italy)
Full size test
Tuning of the procedures
Define mutual position among sub-systems
Define mutual position between sub-system and telescope
@ NTT La Silla Chile
PAE
Notes: A partire da 2020 => 2021 PAC

## Slide 20
All aligned sub-systems will be shipped to INAF-OAPD
Integration on NTT Nasmyth Mech Simulator
(arrived 1 month ago from ESO and installed in the “Laboratorio Carro Ponte”)
Notes: Fantin Trasporti e servizi tecnologici (di strumentazione)